## Sheet1
Note 1:
14C concentrations are given as fraction modern (F14C), which is the fraction of the standard concentration including
normalization for d13C (e.g. Reimers et al., Radiocarbon 46 (2004) 1299.
These values are quoted as 14aN by W.G. Mook and J. van der Plicht, Radiocarbon 41 (1999) 227.
Note 2:
Common alternative parameterization of the 14C concentrations are pMC (percent modern Carbon) and the
"conventional radiocarbon age". The conventional radiocarbon age is equal to -8033 * ln(F14C), but not the real age.
pMC can be calculated from F14C by multiplying with 100, Note, the uncertainties of pMC are analogeous those of F14C
also multiplied by a factor 100.
Note 3:
For the determination of the calendar ages programs like e.g. OxCal or Calib have to be used. In this case the use of F14C
instead of the conventional age is recommanded (easier with respect to the uncertainty).
Note 4:
The depletion D14C gives the relative difference in activity with respect to the standard with normalization for
δ13C and is corrected for the decay between 1950 and the measurement time. These values are quoted as
"14δNs " by W.G. Mook and J. van der Plicht, Radiocarbon 41 (1999) 227.
Note 5:
The quoted uncertainties are based on the statistical uncertainty of the number of 14C counts and the scattering of the
single measurements of the respective sample plus a contribution from the calibration (see Steinhof, Radiocarbon 55 (2013) 282).
Not included is an additional (machine-dependent) contribution.
P-Nr. | Probe | F14C | err | ∆14C (‰) | err (‰) | remark
20862 | ISE_O-4-1 | 1.0255 | 0.0031 | 17 | 3.1
20863 | ISE_O-4-2 | 1.0215 | 0.003 | 13 | 3
20864 | ISE_O-4-3 | 1.0198 | 0.003 | 11.3 | 3
20865 | ISE_O-7-1 | 1.0166 | 0.003 | 8.2 | 3
20866 | ISE_O-7-2 | 1.0123 | 0.003 | 3.9 | 3
20867 | ISE_O-7-3 | 1.0243 | 0.003 | 15.8 | 3
20868 | ISE_M-4-3 | 1.0165 | 0.003 | 8.1 | 3
20869 | ISE_O-5-1 | 1.018 | 0.003 | 9.5 | 3
20870 | ISE_O-5-2 | 1.0167 | 0.003 | 8.3 | 3
20871 | ISE_O-5-3 | 1.0154 | 0.003 | 6.9 | 3
20872 | ISE_O-9-1 | 1.0266 | 0.003 | 18.1 | 3
20873 | ISE_O-9-2 | 1.0233 | 0.003 | 14.8 | 3
20874 | ISE_O-9-3 | 1.0224 | 0.0031 | 13.9 | 3.1
20875 | ISE_M-5-1 | 1.0678 | 0.0032 | 58.9 | 3.2
20876 | ISE_M-5-2 | 1.0269 | 0.003 | 18.3 | 3
20877 | ISE_M-5-3 | 1.0187 | 0.003 | 10.2 | 3
20878 | ISE_M-9-1 | 1.0269 | 0.003 | 18.4 | 3
20879 | ISE_M-9-2 | 1.0247 | 0.003 | 16.2 | 3
20880 | ISE_M-9-3 | 1.0245 | 0.003 | 15.9 | 3
20881 | ISE_O-1-1 | 1.0263 | 0.0019 | 17.8 | 1.9
20882 | ISE_O-1-2 | 1.0208 | 0.002 | 12.3 | 2
20883 | ISE_O-1-3 | 1.019 | 0.0019 | 10.5 | 1.9
20884 | ISE_O-8-1 | 1.0188 | 0.0019 | 10.4 | 1.9
20885 | ISE_O-8-2 | 1.0181 | 0.0019 | 9.7 | 1.9
20886 | ISE_O-8-3 | 1.023 | 0.0019 | 14.5 | 1.9
20887 | ISE_M-8-2 | 1.0154 | 0.0019 | 7 | 1.9